Series DBMJ Flanged, In-Line, Enclosed Check Valves

Suggested Specifications

GENERAL

- SUBMITTALS

  - Submit product literature including:

    - Outline drawing that shows general arrangement, dimensions, weight, materials of construction.

    - Performance graph showing head and flow characteristics.

    - Manufacturer shall derive performance data from actual testing.  Manufacturer shall have in-house hydraulic test laboratory to measure head loss and flow through valves, and shall offer certified flow test data on actual valves prior to shipment.

- PRODUCTS

  - Flanged, In-Line, Fully Enclosed “Duckbill” style check valves:

    - Valve body shall be a two-piece split configuration made from grey cast iron, ASTM A-126 class 35 with an elastomer gasket to seal the housing halves.  Flanges on both ends shall be drilled and tapped to match ANSI B-16.1, 125# bolt pattern.  Flange holes shall be tapped with UNC class 2B threads.  Valve body shall have an NPT(F) flush / clean-out port with plug at the top and bottom of the housing assembly.

    - Valve shall be equipped with a rubber “duckbill” type check valve insert.  Rubber insert shall be a one-piece, fabric-reinforced elastomer matrix, with a rubber flange on one end.  The rubber flange shall be drilled to match the housing flange bolt pattern and shall function as the gasket for one end of the valve assembly.  The rubber insert shall have a 100% full round opening on the inlet, and shall taper down to a flattened duckbill on the other end, designed to allow flow in the forward direction, and blocking flow in the reverse direction.

    - Valves are to be manufactured in the USA.

- FUNCTION

  - When upstream pressure exceeds down stream pressure valve shall start opening allowing flow through the valve.  When down-stream pressure is greater than upstream pressure, the valve shall close, blocking flow.

- MANUFACTURER

  - All valves shall me series DBMJ as manufactured by Onyx Valve Co Cinnaminson NJ 08077 USA (www.onyxvalve.com) or approved equal.

- INSTALLATION

  - Valve shall be stored and installed as per manufacturer’s Instruction and Operation Manual.